January 21, 2009

REVISION OF SECTIONS 101,107, AND 208

WATER QUALITY CONTROL (WITHOUT CDPS-SCP)

NOTICE

This is a standard special provision that revises or modifies CDOT’s Standard Specifications for Road and Bridge Construction  It has gone through a formal review and approval process and has been issued by CDOT’s Project Development Branch with formal instructions for its use on CDOT construction projects.  It is to be used as written without change.  Do not use modified versions of this special provision on CDOT construction projects, and do not use this special provision on CDOT projects in a manner other than that specified in the instructions unless such use is first approved by CDOT’s Standards and Specifications Unit.  The instructions for use on CDOT construction projects appear below.

Other agencies which use the Standard Specifications for Road and Bridge Construction to administer construction projects may use this special provision as appropriate and at their own risk.

Instructions for use on CDOT construction projects:

Use in projects not having a Colorado Discharge Permit System (CDPS) Stormwater Construction Permit (SCP), unless omitted by the Stormwater Administrator.

Sections 101, 107, and 208 of the Standard Specifications are hereby revised for this project as follows:

Add subsections 101.92 and 101.93 which shall include the following:

101.92 Stormwater Management Plan (SWMP).   The Stormwater Management Plan comprises those contract documents containing the requirements necessary to protect and identify sensitive environments (state waters, wetlands, habitat and existing vegetation), minimize the amount of disturbed soil, control and minimize erosion and sedimentation during and after project construction, minimize runoff from offsite areas from flowing across the site, slow down the runoff, and reduce pollutants in stormwater runoff.

101.93 Best Management Practices (BMPs) for Stormwater Pollution Prevention.  BMPs prevent or reduce the pollutants in stormwater discharges from the construction site.

Delete subsection 107.25(b)5, and replace it with the following:

- At least ten days prior to the beginning of construction the Contractor shall identify and describe all potential pollutant sources, including materials and activities, and evaluate them for the potential to contribute pollutants to stormwater discharges associated with construction activities.   At a minimum each of the following shall be evaluated for the potential for contributing pollutants to stormwater discharges, and identified in the SWMP if found to have such potential: all exposed and stored soils; vehicle tracking of sediments; management of contaminated soils; vehicle and equipment maintenance and fueling; outdoor storage activities (building materials, fertilizers, chemicals, etc.); significant dust or particle generating processes; routine maintenance involving fertilizers, pesticides, detergents, fuels, solvents, oils, etc.; on-site waste management practices (waste piles, dumpsters, etc.); dedicated asphalt and concrete batch plants; concrete truck/equipment washing, including the concrete truck chute and associated fixtures and equipment; non-industrial waste sources that may be significant, such as worker trash and portable toilets; loading and unloading operations; and other areas or procedures where potential spills can occur.

The Contractor shall record the location and add descriptions of potential pollutants to the SWMP.

The Contractor shall provide a Spill Prevention, Control, and Countermeasure Plan (SPCC) for any petroleum product, chemicals, solvents, or other hazardous materials in use, or in storage, at the work site. Work shall not be started until the plan has been submitted to and approved by the Engineer.

Subsection 107.25(b) shall include the following:

- The Contractor shall certify in writing that construction equipment has been cleaned prior to site arrival.  Vehicles shall be free of soil and debris capable of transporting noxious weed seeds or roots onto the site.  Vehicle cleaning may occur on site, in approved areas, where wash water can be properly contained.

- At the end of each day the Contractor shall collect all trash and dispose of it in appropriate containers.  Containers shall be emptied as needed.

Subsection 208.01, second paragraph, shall include the following:

When a provision of Section 208 or an order by the Engineer requires that an action be immediate or taken immediately, it shall be understood that the Contractor shall at once begin effecting completion of the action and pursue it to completion in a manner acceptable to the Engineer.

Subsection 208.02(k) shall include the following:

When approved by the Engineer a fabricated concrete washout structure may be used.  Fabricated concrete washouts are pre-manufactured watertight containers designed to contain liquid and solid waste from concrete washout.  Above ground systems designed for washout and hauling may also be used. After use the structure must be removed from the project site and disposed of at the Contractor’s expense.  Insubstantial structures, such as children's wading pools or swimming pools are not acceptable, and will be rejected by the Engineer.

Subsection 208.03 shall include the following:

Prior to construction the Contractor shall implement erosion control measures in accordance with the approved schedule.

Prior to construction the Contractor shall evaluate the project site for water draining into or through it.  If such drainage is identified, if possible BMPs shall be used to prevent stormwater from running on-site and becoming contaminated with sediment or other pollutants via a temporary pipe or other conveyance to prevent water contamination.  Run-on water that cannot be diverted shall be treated as construction runoff and adequate BMPs shall be employed.

The Contractor shall evaluate any non-stormwater coming onto the site, such as springs, seeps, and landscape irrigation return flow.  If such flow is identified, BMPs shall be used to protect off-site water from running on-site and becoming contaminated with sediment or other pollutants.

The Contractor shall review existing inlets and culverts to determine if inlet protection is needed due to water flow patterns.  Prior to construction commencing, inlets and culverts needing protection shall be protected.

When additional BMPs are required, the Contractor shall implement the additional BMPs and record and describe them on the SWMP site map.  Additional BMPs will be measured and paid for in accordance with subsections 208.07 and 208.08.

Delete subsection 208.03(c), and replace with the following:

(c)	Implementation, Maintenance, and Revision of the SWMP. The Contractor shall be responsible for oversight of the implementation, maintenance, and revision of the SWMP for the duration of the project.  The Contractor shall read, be familiar with, and use the information provided in CDOT’s Erosion Control and Stormwater Quality Guide.

The Contractor’s responsibilities shall be as follows:

- Directly supervise the installation, construction, and maintenance of all erosion control measures specified in the Contract and coordinate the construction of erosion control measures with all other construction operations.

- Direct the implementation of suitable temporary erosion and sediment control features as necessary to correct unforeseen conditions or emergency situations. Direct the dismantling of those features when their purpose has been fulfilled unless the Engineer directs that the features be left in place.

- Upon the Engineer’s request, implement necessary actions to reduce anticipated or presently existing water quality or erosion problems resulting from construction activities. The criteria by which the Engineer initiates this action may be based on water quality data derived from monitoring operations or by any anticipated conditions (e.g., predicted storms) which the Engineer believes could lead to unsuitable water quality situations.

- Make available, upon the Engineer’s request, all labor, material, and equipment judged appropriate by the Engineer to install and maintain suitable erosion and sediment control features.

- Develop and implement a plan for saw cutting containment to be approved by the Engineer.

When included in the Contract, the Contractor shall assign to the project an employee to serve in the capacity of the Erosion Control Supervisor (ECS).  The ECS shall be a person other than the Superintendent, unless otherwise approved by the Engineer.  The ECS shall be experienced in all aspects of construction and have satisfactorily completed an ECS training program authorized by the Department. Proof that this requirement has been met shall be submitted to the Engineer at least ten working days prior to the beginning of any construction work.  The ECS shall be the person responsible for ensuring that the responsibilities listed in (1) through (5) above are fulfilled.

Spills, leaks or overflows that result in the discharge of pollutants shall be documented and maintained by the Contractor.  The Contractor shall record the time and date, weather conditions, reasons for spill, etc.  Some spills may need to be reported to the Water Quality Control Division immediately.

Add subsection 208.03(d) which shall include the following:

(d)	Documentation Available on the Project.  The following Contract documents and references shall be made available for reference at the CDOT field office during construction.

  - SWMP Plan Sheets, if applicable to the project

  - SWMP site map and project plan title sheet, if applicable to the project

  - List of potential pollutants as described in subsection 107.25

  - Spill Prevention, Control and Countermeasure Plan

  - Form 105s relating to water quality

Subsection 208.04 shall include the following:

Stabilized construction entrances shall be used at all vehicle exit and entrance points to the site to prevent sediment exiting the project site onto paved public roads.  Access shall be provided only at a stabilized construction entrance.

Perimeter control shall be established as the first BMP to be implemented on the SWMP.  Perimeter control plan shall be approved by the Engineer prior to installation. The Contractor shall describe and record perimeter control on SWMP.

Newly constructed inlets and culverts shall be protected throughout construction and immediately upon completion. When riprap is called for at the outlet of a culvert, it shall be installed within 24 hours upon completion of each culvert. The Contractor shall remove sediment, millings, debris and other pollutants from within the project drainage system, prior to use, at no additional cost to the project.

In subsection 208.04(d), first paragraph, delete the second sentence and replace with the following:

When required by the plans, a soil retention blanket shall be used in combination with the final seed and mulch.

In subsection 208.04(d), first paragraph, delete the third sentence and replace with the following:

Temporary stabilization is defined as the covering of disturbed areas with seed, mulch with a tackifier, soil roughening, soil binder, or a combination thereof.

In subsection 208.04(d), after the first paragraph, add the following:

During the summer and winter when seeding is not allowed, temporary stabilization shall be placed.    Temporary stabilization shall consist of: surface roughening via scarifying surface to 2-4 inches variation of surface or vertical tracking, 1.5 tons of certified weed free forage hay or straw mulching per acre mechanically crimped into the soil in combination with an organic mulch tackifier, soil binder, cellulose fiber mulch with tackifier,  or a combination thereof as approved.  Surface roughening shall not be used alone.

In subsection 208.04(d), second paragraph, delete the fourth sentence and replace with the following:

If approved by the Engineer, slopes from the edge of pavement to the point of slope selection may be left unseeded until paving has been completed but shall be temporarily stabilized as approved by Engineer.

In subsection 208.04(d), third paragraph, delete the second and third sentences and replace with the following:

Areas shall be permanently stabilized within 48 hours after completion.  Disturbed areas where work is temporarily halted shall be temporarily stabilized immediately after the activity ceased.

Temporary stabilization shall consist of: surface roughening via scarifying surface to 2-4 inches variation of surface or vertical tracking, 1.5 tons of certified weed free forage hay or straw mulching per acre, mechanically crimped into the soil in combination with an organic mulch tackifier, soil binder, cellulose fiber mulch with tackifier, or a combination thereof as approved.

In subsection 208.04(e) delete the first paragraph and replace with the following:

Erosion and sediment control practices and other protective measures identified in the SWMP as BMPs for Stormwater Pollution Prevention shall be maintained in effective operating condition.  BMPs shall be continuously maintained in accordance with good engineering, hydraulic and pollution control practices, including removal of collected sediment when silt depth is 50 percent or more of the height of the erosion control device.    Removal and disposal of sediment shall be in accordance with 208.04(f).  Where necessary, the Contractor shall use appropriate size equipment with operator to remove the sediment.  The Contractor shall obtain the Engineer's approval of proposed equipment and methods for removal and disposal of sediment prior to performing the work.

Maintenance of Erosion and Sediment Control devices shall include replacement of such devices upon the end of their useful service life as recommended by the Contractor or the Engineer, and approved by the Engineer.    Maintenance of Rock Check Dams, and Stabilized Construction Entrances shall be limited to removal and disposal of sediment. Devices damaged due to the Contractor's negligence shall be replaced at Contractor’s expense.

Complete site assessment shall be performed as part of comprehensive inspection and maintenance procedures, to assess the adequacy of BMPs at the site and the necessity of changes to those BMPs to ensure continued effective performance.  Where site assessment results in the determination that new or replacement BMPs are necessary, the BMPs shall be installed to ensure continuous implementation.  When identified, BMPs shall be added, modified or replaced as soon as possible, immediately in most cases.

Where BMPs have failed, they shall be repaired or replaced as soon as possible, immediately in most cases, to minimize the discharge of pollutants.

New or replacement BMPs will be measured and paid for in accordance with subsections 208.07 and 208.08.

Subsection 208.04(f) shall include the following:

Whenever sediment is transported onto the highway, the road shall be cleaned.  Street washing will not be allowed.  Storm drain inlet protection shall be in place prior to shoveling, sweeping, or vacuuming.  Sweeping shall be completed with a pickup broom or equipment capable of collecting sediment.  Street washing and kick brooms shall not be used.  Street cleaning will not be paid for separately, but shall be included in the work.

Add subsection 208.04(g) which shall include the following:

(g)	Saw Cutting Debris. Material from saw cutting operations shall be cleaned from the roadway surface as soon as possible, immediately in most cases, after operations.  Particles shall be picked up with a pick up broom or vacuum.  Sweeping and street washing will not be allowed.  Street cleaning will not be paid for separately, but shall be included in the work.

Subsection 208.05 (j) shall include the following:

The Contractor shall protect all storm drain facilities adjacent to locations where pavement cutting operations involving wheel cutting, saw cutting, sand blasting or abrasive water jet blasting are to take place.

In subsection 208.05(l) delete the first sentence and replace with the following:

The Contractor shall maintain the erosion logs during construction to prevent sediment from passing over or under the logs or from sediment accumulation greater than 50 percent of the original exposed height of each erosion log.

Subsection 208.05(n) shall include the following:

Washout areas shall be checked by the Contractor and maintained as required. On site permanent disposal of concrete washout waste is not allowed.

In subsection 208.05(n), first paragraph, delete the second sentence and replace with the following:

At least ten days prior to start of concrete operations, the Contractor shall submit in writing a method statement outlining the design, site location and installation of a concrete structure that will contain washout from concrete placement operations.

Subsection 208.05(n) shall include the following:

(11)	The use of earthen, in ground concrete washout sites shall be less than one year.

In subsection 208.05(n) delete the last paragraph and replace it with the following:

All liquid and solid wastes, including contaminated sediment and soils generated from concrete washout shall be hauled away from the site. Removal shall be included in the price of the concrete washout structure.

Subsection 208.05 shall include the following:

- Detention Pond.  Permanent detention ponds shown in the construction plans may be used as temporary BMPs if:

  - the pond is designated as a construction BMP in the SWMP,

  - the pond is designed and implemented for use as a BMP during construction in accordance with good engineering, hydrologic, and pollution control practices, and

  - the pond is inspected and maintained

  - All silt shall be removed and the pond returned to the design grade and contour prior to project acceptance.

Add subsections 208.051 through 208.055 immediately following subsection 208.05 which shall include the following:

208.051 Materials Handling and Spill Prevention.  The Contractor shall clearly describe and record on the SWMP, all practices implemented at the site to minimize impacts from procedures or significant material that could contribute pollutants to runoff.  Areas or procedures where potential spills can occur shall have spill procedures and responses specified in subsection 107.25.

- Bulk storage structures for petroleum products and any other chemicals shall have secondary containment or equivalent adequate protection so as to contain all spills and prevent any spilled material from entering state waters.  If secondary containment is used and results in accumulation of stormwater within the containment, a plan shall be implemented to properly manage and dispose of accumulated stormwater.

- The Contractor shall inspect equipment and vehicles daily to ensure petroleum, oils, and lubricants (POL) are not leaking onto the soil or pavement.  Absorbent material or containers approved by the Engineer shall be used to prevent leaking POL from reaching the soil or pavement.  The Contractor shall have onsite approved absorbent material or containers of sufficient capacity to contain any POL leak that can reasonably be foreseen.  All materials resulting from POL leakage control and cleanup shall become the property of the Contractor and shall be removed from the site.  The cost for control, cleanup and removal of by-products resulting from POL leaks will not be paid for separately, but shall be included in the work.

- A Spill Prevention, Control and Countermeasure Plan shall be developed and implemented to establish operating procedures and the necessary employee training to minimize the accidental releases of pollutants that can contaminate stormwater runoff.

The Spill Prevention, Control, and Countermeasure Plan shall contain the following information:

  - Identification of the spill cleanup coordinators

  - Location of cleanup kits

  - Quantities of chemicals and locations stored on site.

  - Label system for chemicals and Materials Safety Data Sheets (MSDS) for products

  - Notification and clean up procedures to be implemented in the event of a spill for spills which do not enter state waters or are under reporting limits of the chemical of concern (diesel fuel, hydraulic fluid, motor oil, used hydraulic fluid and motor oil, tack oil).

  - Significant spill procedures for spills of any size that enter state waters or have the potential to do so. CDOT’s Erosion Control and Stormwater Quality Guide (current edition) contains Spill notification contacts and phone numbers required in the SPCC.

Subsection 208.052 Stockpile Management.  Material stockpiles shall be located away from sensitive areas and shall be confined so that no potential pollutants will enter state waters or conveyances to state waters (e.g., ditches).  Locations shall be approved by the Engineer.

Erodible stockpiles (including topsoil) shall be contained with acceptable BMPs at the toe (or just beyond toe) throughout construction. BMPs shall be approved by the Engineer.

There shall be no stockpiling or side casting of waste materials including but not limited to paint chips, asphalt, and concrete that result from project activities within 50 horizontal feet of the ordinary high water line of any state waters.

208.053 Grading and Slope Stabilization.  The Contractor shall limit construction activities to those areas within the limits of disturbance to toe of slope and top of cut and as otherwise shown on the plans and cross-

sections.  Construction activities, in addition to the Contract work, shall include the on-site parking of vehicles or equipment, on-site staging, use of on-site batch plants, use of haul roads or work access, and any other action which would disturb existing conditions.  Off road staging areas must be pre-approved by the Engineer, unless otherwise designated in the Contract.  Disturbances beyond these limits shall be restored to the original condition by the Contractor at the Contractor’s expense.  The Contractor shall tabulate additional disturbances not identified in the SWMP and indicate locations and quantities on the SWMP and report to the Engineer.

The Contractor shall pursue and stabilize all disturbances to completion.  The Contractor shall provide a stabilization schedule showing dates when areas are to be completed and stabilized.  The Contractor shall maintain revisions to the schedule and obtain approval for schedule changes in accordance with subsection 108.03.

208.054 Surface Roughening and Vehicle Tracking.  Disturbed surfaces shall be left in a roughened condition at the end of each shift by equipment vertical tracking, scarifying, or disking the surface on contour to create a 2 to 4 inch minimum variation in soil surface.  Deep sands or soils that are primarily rock need not be roughened. Surface roughening will not be paid for separately, but shall be included in the work.

Subsection 208.06 shall include the following:

Failure to implement the Stormwater Management Plan puts the project in automatic violation of CDOT Specifications.   Penalties may be assessed to the Contractor by the appropriate agencies. All fines assessed to the Department for the Contractor’s failure to implement the SWMP shall be deducted from moneys due the Contractor in accordance with subsection 107.25(c) 2.

In subsection 208.06, delete items (3), (7) and (8) and replace with the following:

(3)  Failure of the Contractor to implement necessary actions required by the Engineer as required by subsection 208.03 (c).

- Failure to immediately stabilize disturbed areas as required by subsections 208.04(d) and 208.054.

- Failure to replace or perform maintenance on an erosion control feature within 48 hours after notice from the Engineer to replace or perform maintenance as required by subsection 208.04(e).

In subsection 208.06 add items (11) and (12) which shall include the following:

- Failure to perform permanent stabilization as required by subsection 208.04 (d).

- Failure to remove unnecessary BMPs.

In subsection 208.06, second paragraph, delete the first three sentences and replace with the following:

The Engineer will immediately notify the Contractor in writing of each incident of failure to perform erosion control items (1) through (12) above.  The Contractor will be allowed 48 hours but correction shall be made as soon as possible from the date of notification to correct the failure.  The Contractor will be charged liquidated damages in the amount of $875 for each calendar day after the 48 hour period has expired, that one or more of the incidents of failure, items (1) through (12) above, remains uncorrected.

Add subsection 208.061 immediately following subsection 208.06 which shall include the following:

208.061 Items to Be Accomplished prior to Final Acceptance.  After all concrete operations are complete, all washout areas shall be reclaimed in accordance with subsection 208.05(n) at the Contractor’s expense.

BMPs shall be removed when 70% of pre-existing vegetative cover has been re-established within the disturbed project limits.   The Contractor shall remove approved BMPs; cost of BMP removal will be included in the BMP.

In subsection 208.07 delete the seventh paragraph and replace with the following:

Excavation required for removal of accumulated sediment from traps, basins, areas adjacent to silt fences and erosion bales, and other clean out excavation of accumulated sediment, and the disposal of such sediment, will be measured by the number of hours that equipment, labor, or both are used for sediment removal.

In subsection 208.08 delete the pay item Sediment Removal and Disposal and the pay item for Erosion Control Supervisor (Lump Sum), and replace them with the following:

Pay Item								Pay Unit

Removal and Disposal of Sediment (Labor)					Hour

Removal and Disposal of Sediment (Equipment)					Hour

Erosion Control Supervisor							Hour

Erosion Control Supervisor							Day

Subsection 208.08 shall include the following:

Payment for Removal and Disposal of Sediment (Equipment) will be full compensation for use of the equipment, including the operator.

Payment for Erosion Control Supervisor will be full compensation for the erosion control supervisor and all materials and equipment necessary for the erosion control supervisor to perform the work.

Payment will be made for erosion and sediment control devices replaced as approved by the Engineer.

In subsection 208.08, the third paragraph shall include the following:

Removal and Disposal of Sediment from the stabilized construction entrance will be measured and paid for separately.