**NOTICE**

This is a project special provision that revises or modifies CDOT’s *Standard Specifications for Road and Bridge Construction*. It has gone through a formal review and approval process and has been issued by CDOT’s Construction Engineering Services Branch with formal instructions for its use on CDOT construction projects. It is to be used as written without change. Do not use modified versions of this special provision on CDOT construction projects, and do not use this special provision on CDOT projects in a manner other than that specified in the instructions unless such use is first approved by CDOT’s Standards and Specifications Unit. The instructions for use on CDOT construction projects appear below.

Other agencies which use the *Standard Specifications for Road and Bridge Construction* to administer construction projects may use this special provision as appropriate and at their own risk.

**Instructions for use on CDOT construction projects:**

Use this standard special provision on all projects.

**Revise Section 105 of the Standard Specifications as follows:**

**Table 105-1 shall be replaced with the following:**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Table 105-1** | | | | |
| **CONTRACTOR SUBMITTALS** | | | | |
| **(including Contractor Qualifications)** | | | | |
|  |  |  |  |  |
| **Section**  **No.** | **Description** | **Type** | **Contractor**  **P.E. Seal Required?** | **Review Time (working days)** |
| 202 | Bridge Removal Plan | Other | Yes | 10 |
| 206 | Shoring | Working Drawing | Yes\* | 10 |
| 502 | Piling Equipment Testing | Other | No | 10 |
| 502 | Welding | Qualifications | No | 10 |
| 503 | Assembly and Placement of Reinforcing Steel | Shop Drawing | Yes | 30 |
| 503 | Drilled Shafts | Qualifications | No | 30 |
| 504 | Soil Nail Wall | Qualifications | No | 15 |
| 504 | Soil Nail Wall (Contractor Alternative & Sacrificial) | Shop Drawing | Yes\*† | 10 |
| 504 | Hybrid Wall (Contractor Alternative) | Shop Drawing | Yes\* | 10 |
| 504 | MSE Wall | Qualifications | No | 10 |
| 504 | MSE Walls (Contractor Alternative) | Shop Drawing | Yes | 15 |
| 504 | MSE Walls (Default Design) | Shop Drawing | No | 15 |
| 504 | Geomembrane and Joints | Working Drawing | No | 10 |
| 508 | Timber Structures | Shop Drawing | No | 20 |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Table 105-1 (continued)** | | | | |
| **CONTRACTOR SUBMITTALS** | | | | |
| **(including Contractor Qualifications)** | | | | |
|  |  |  |  |  |
| **Section**  **No.** | **Description** | **Type** | **Contractor**  **P.E. Seal Required?** | **Review Time (working days)** |
| 509 | Steel Structures | Shop Drawing | Yes\* | 20 |
| 509 and 618 | Erection Plan | Other | Yes | 5 |
| 509 | Fracture Critical Plan | Other | No | 15 |
| 512 | Bearing Devices Type II | Shop Drawing | No | 15 |
| 512 | Bearing Devices Type III | Shop Drawing | Yes | 15 |
| 514 | Pedestrian and Bikeway Railing | Working Drawing | No | 10 |
| 518 | Elastomeric Expansion Devices | Working Drawing | No | 10 |
| 518 | Expansion Devices: 0-4" | Shop Drawing | Yes | 15 |
| 518 | Expansion Devices: 0-6", 9", 12"… | Shop Drawing | Yes | 15 |
| 518 | Modular Bridge Expansion Joint Design | Other | Yes | 10 |
| 518 | PPC End Dam | Qualifications | No | 15 |
| 601 and 618 | Precast Panel Deck Forms | Working Drawing | No | 10 |
| 601 | Permanent Steel Bridge Deck Forms | Shop Drawing | Yes | 10 |
| 601 | Falsework | Working Drawing | Yes | 10 |
| 602 | Reinforcing Steel | Working Drawing | No | 10 |
| 603 | Precast Culvert | Shop Drawing | Yes\* | 20 |
| 606 | Bridge Railing | Working Drawing | No | 10 |
| 607 | Sound Barriers (Alternative) | Shop Drawing | Yes | 15 |
| 607 | Sound Barriers (Default Design) | Working Drawing | No | 10 |
| 613 | Light Standards (Low Mast) | Working Drawing | Yes | 10 |
| 613 | Light Standards (High Mast) | Working Drawing | Yes | 10 |
| 614 | Overhead Sign Structures | Shop Drawing | Yes**\*** | 15 |
| 614 | Variable Message Signs (Cabinet and tilting bracket) | Working Drawing | Yes | 10 |
| 614 | Traffic Signal Pole (Mast Arm) | Shop Drawing | No | 15 |
|  |  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Table 105-1 (continued)** | | | | |
| **CONTRACTOR SUBMITTALS** | | | | |
| **(including Contractor Qualifications)** | | | | |
|  |  |  |  |  |
| **Section**  **No.** | **Description** | **Type** | **Contractor**  **P.E. Seal Required?** | **Review Time (working days)** |
| 614 | Traffic Signal Pedestal Pole | Working Drawing | Yes | 10 |
| 614 | Traffic Signal Equipment | Working Drawing | No | 10 |
| 618 | Prestressed Concrete (Pre-tensioned) | Shop Drawing | Yes\* | 20 |
| 618 | Prestressed Concrete (Post-tensioned) | Shop Drawing | Yes\* | 10 |
| 618 | Steel Diaphragms between Prestressed Girders | Working Drawing | No | 10 |
| 618 | PT Grouting | Qualifications | No | 10 |
| 622 | Buildings | Shop Drawing | Yes | Varies |
| 628 | Prefabricated Pedestrian Bridges | Shop Drawing | Yes\*† | 20 |
| 641 | Shotcrete | Qualifications | No | 10 |
| 641 | Shotcrete | Shop Drawing | No | 10 |
| 715 | Anchor Bolts | Working Drawing | No | 10 |
| Project Specials | As noted in project specials | Qualifications | No | Varies, 10 min. |
| Project Specials | As noted in project specials | Varies | Varies | Varies |
| \*An electronic PE seal is required where the Contractor has provided the design for the item, or performed engineering to modify the details shown on the plans. The PE seal is not required where complete details are provided on the plans. | | | | |
| †Independent design check required for rating per Bridge Rating Manual. | | | | |
| ‡Submittal only, no review required. | | | | |
| Table 105-1 may not be all inclusive. The Contractor shall provide all submittals required by the Contract, including those not listed in the table. | | | | |